## Assets
PROJECT NAME
PUMP STATION ADDRESS
LATITUDE
LONGITUDE
ELECTRIC - JEA-FPL-CLAY
ELECTRIC METER #
WATER METER #
REUSE METER #
SERVICE AMPS
TRANSFORMER ADDRESS
PAD OR POLE TRANSFORMER
PUMP OUT CAM LOCK SIZE
SUCTION CAM LOCK SIZE
OPEN DISCHARGE/FORCE MAIN
STANDARD ATTRIBUTE WORKSHEET - JEA PUMP STATION
ASSET DESCRIPTIONS |  |  |  |  | NAMEPLATE DATA
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | VOLTAGE | PHASE | MAIN BREAKER SIZE | EQUIPMENT BREAKER SIZE
|  | CP-1 | CONTROL PANEL | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | STARTER SIZE | STARTER TYPE
CP-1 | CONTROL PANEL | VFD / START-1 | STARTER 1 | NO
CP-1 | CONTROL PANEL | VFD / START-2 | STARTER 2 | NO
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | PIPE SIZE | TYPE
SPA1- | SEWAGE PUMP ASSEMBLY 1 | PIPE-1 | DISCHARGE PIPE 1 | YES
SPA2- | SEWAGE PUMP ASSEMBLY 2 | PIPE-2 | DISCHARGE PIPE 2 | YES
ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | PIPE-3 | PUMP OUT SUCTION PIPING | YES
ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | PIPE-4 | PUMP OUT DISCHARGE PIPING | YES
ASBLY-5 | DISCHARGE PIPING ASSEMBLY | PIPE-5 | DISCHARGE PIPING (FM UNDER SLAB) | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | HP | VOLTAGE | FULL LOAD AMPS | RPM | IMPELLER DIAMETER | DISCHARGE SIZE
SPA1- | SEWAGE PUMP ASSEMBLY 1 | PA-1 | PUMP ASSEMBLY 1 | YES
SPA2- | SEWAGE PUMP ASSEMBLY 2 | PA-2 | PUMP ASSEMBLY 2 | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | VALVE SIZE | VALVE TYPE
SPA1- | SEWAGE PUMP ASSEMBLY 1 | VALVE-1 | CHECK VALVE 1 | YES
SPA2- | SEWAGE PUMP ASSEMBLY 2 | VALVE-2 | CHECK VALVE 2 | YES
SPA1- | SEWAGE PUMP ASSEMBLY 1 | VALVE-3 | PLUG VALVE 1 | YES
SPA2- | SEWAGE PUMP ASSEMBLY 2 | VALVE-4 | PLUG VALVE 2 | YES
ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | VALVE-5 | PUMP OUT CHECK VALVE | YES
ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | VALVE-6 | PUMP OUT PLUG VALVE | YES
ASBLY-5 | DISCHARGE PIPING ASSEMBLY | VALVE-7 | STATION ISOLATION VALVE (UNDER SLAB) | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | DIAMETER | SHAPE | TOP ELEVATION | BOTTOM ELEVATION | INVERT ELEVATION | INVERT SIZE
ASBLY-1 | WET WELL ASSEMBLY | WET WELL-1 | WET WELL | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | AMP RATING
|  | SWITCH-1 | MANUAL TANSFER SWITCH | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER
CP-1 | CONTROL PANEL | XDUCER-1 | LEVEL TRANSDUCER | YES
CP-1 | CONTROL PANEL | XDUCER-2 | FORCE MAIN TRANSDUCER | NO
CP-1 | CONTROL PANEL | XDUCER-3 | POTABLE WATER TRANSDUCER | NO
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | LICENSED YES/NO
CP-1 | CONTROL PANEL | RADIO-1 | COMMUNICATIONS RADIO | YES
ADDITIONAL ASSETS THAT MAY BE UTILIZED
GENERATOR ASSEMBLY
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | GEN KW | FUEL TYPE
ASBLY-3 | GENERATOR ASSEMBLY | GEN-1 | GENERATOR | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | TANK CAPACITY | MATERIAL
ASBLY-3 | GENERATOR ASSEMBLY | TANK-1 | GENERATOR FUEL TANK | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER
ASBLY-3 | GENERATOR ASSEMBLY | SWITCH-2 | AUTOMATIC TANSFER SWITCH | YES
PONY PUMP ASSEMBLY
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | SUCTION SIZE | DISCHARGE SIZE
ASBLY-4 | PONY PUMP ASSEMBLY | PUMP-3 | PONY PUMP | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | VALVE SIZE
ASBLY-4 | PONY PUMP ASSEMBLY | VALVE-8 | PONY PUMP PLUG VALVE | YES
ASBLY-4 | PONY PUMP ASSEMBLY | VALVE-9 | PONY PUMP CHECK VALVE | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | PIPE SIZE | TYPE
ASBLY-4 | PONY PUMP ASSEMBLY | PIPE-5 | PONY PUMP SUCTION PIPING | YES
ASBLY-4 | PONY PUMP ASSEMBLY | PIPE-6 | PONY PUMP DISCHARGE PIPING | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | TANK CAPACITY | MATERIAL
ASBLY-4 | PONY PUMP ASSEMBLY | TANK-2 | PONY PUMP FUEL TANK | YES
FLOW METER ASSEMBLY
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | SIZE
ASBLY-5 | FLOW METER ASSEMBLY | METER-1 | FLOW METER | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | VALVE SIZE
ASBLY-5 | FLOW METER ASSEMBLY | VALVE-10 | AIR RELEASE VALVE | YES
ASBLY-5 | FLOW METER ASSEMBLY | VALVE-11 | FLOW METER UPSTREAM PLUG VALVE | YES
ASBLY-5 | FLOW METER ASSEMBLY | VALVE-12 | FLOW METER DOWNSTREAM PLUG VALVE | YES
ASBLY-5 | FLOW METER ASSEMBLY | VALVE-13 | FLOW METER BYPASS PLUG VALVE | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | PIPE SIZE | TYPE
ASBLY-5 | FLOW METER ASSEMBLY | PIPE-7 | FLOW METER PIPING | YES
ODOR CONTROL ASSEMBLY
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | TANK CAPACITY | SIZE | MATERIAL
ASBLY-5 | ODOR CONTROL ASSEMBLY | TANK-3 | VESSEL TANK BTF | YES
ASBLY-5 | ODOR CONTROL ASSEMBLY | TANK-4 | NUTRIENT BTF | NO
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | PIPE SIZE | TYPE
ASBLY-5 | ODOR CONTROL ASSEMBLY | PIPE-8 | ODOR CONTROL PIPING BTF | NO
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | SIZE | VOLTAGE | CFM
ASBLY-5 | ODOR CONTROL ASSEMBLY | BLOWER | BLOWER BTF | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER
ASBLY-5 | ODOR CONTROL ASSEMBLY | VFD-3 | VFD BTF | YES
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER
ASBLY-5 | ODOR CONTROL ASSEMBLY | PUMP-4 | NUTRIENT PUMP BTF | NO
Parent Asset ID | Asset Description | Parent or Child Asset ID | Asset Description | CAPITAL (Yes/No) | PURCHASE PRICE | MANUFACTURER | MODEL NUMBER | SERIAL NUMBER | VOLTAGE
ASBLY-5 | ODOR CONTROL ASSEMBLY | CP-2 | CONTROL PANEL BTF | YES

## Asset Costs (hidden)
| Location | Location Description | Parent Asset | Parent Asset Description | Asset Number | Asset Description | Tag Number | Capital Asset? | Purchase Cost | Final Installed Cost, Modification Cost or Demo Cost | Install Date | Size | Oracle Project Number | Oracle Work Order Number
1. MOBILIZATION, GENERAL CONDITIONS, STARTUP, DEMOB
_____ | _____ | _____ | _____ | _____ | _____ | MOBILIZATION
_____ | _____ | _____ | _____ | _____ | _____ | GENERAL CONDITIONS
_____ | _____ | _____ | _____ | _____ | _____ | BONDS AND INSURANCE
_____ | _____ | _____ | _____ | _____ | _____ | DEMOBILIZATION
1. TOTAL SCHEDULED VALUE: MOBILIZATION, GENERAL CONDITIONS, DEMOB | [9 empty] | 0
2. PUMPING EQUIPMENT
| LS-XXXXXX |  | SPA1- | SEWAGE PUMP ASSEMBLY | PUMP-1 | PUMP ASSEMBLY 1 |  | Y
| LS-XXXXXX |  | SPA2- | SEWAGE PUMP ASSEMBLY | PUMP-2 | PUMP ASSEMBLY 2 |  | Y
| LS-XXXXXX |  | SPA1- | SEWAGE PUMP ASSEMBLY | BASE-1 | PUMP BASE 1 |  | N
| LS-XXXXXX |  | SPA2- | SEWAGE PUMP ASSEMBLY | BASE-2 | PUMP BASE 2 |  | N
2. TOTAL SCHEDULED VALUE: PUMPING EQUIPMENT | [9 empty] | 0
3. PIPES AND VALVES
| LS-XXXXXX |  | SPA1- | SEWAGE PUMP ASSEMBLY | VALVE-1 | CHECK VALVE 1 |  | Y
| LS-XXXXXX |  | SPA2- | SEWAGE PUMP ASSEMBLY | VALVE-2 | CHECK VALVE 2 |  | Y
| LS-XXXXXX |  | SPA1- | SEWAGE PUMP ASSEMBLY | VALVE-3 | PLUG VALVE 1 |  | Y
| LS-XXXXXX |  | SPA2- | SEWAGE PUMP ASSEMBLY | VALVE-4 | PLUG VALVE 2 |  | Y
| LS-XXXXXX |  | ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | VALVE-5 | PUMP OUT CHECK VALVE |  | Y
| LS-XXXXXX |  | ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | VALVE-6 | PUMP OUT PLUG VALVE |  | Y
| LS-XXXXXX |  |  |  | VALVE-7 | STATION ISOLATION VALVE |  | Y
| LS-XXXXXX |  | SPA1- | SEWAGE PUMP ASSEMBLY | PIPE-1 | DISCHARGE PIPE 1 |  | Y
| LS-XXXXXX |  | SPA2- | SEWAGE PUMP ASSEMBLY | PIPE-2 | DISCHARGE PIPE 2 |  | Y
| LS-XXXXXX |  | ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | PIPE-3 | PUMP OUT SUCTION PIPING |  | Y
| LS-XXXXXX |  | ASBLY-2 | EMERGENCY PUMP OUT ASSEMBLY | PIPE-4 | PUMP OUT DISCHARGE PIPING |  | Y
| LS-XXXXXX |  |  |  | ASBLY-3 | POTABLE WATER PIPING ASSEMBLY |  | Y
3. TOTAL SCHEDULED VALUE: PIPES & VALVES | [9 empty] | 0
4. WET WELL
| LS-XXXXXX |  | ASBLY-1 | WET WELL ASSEMBLY | WET WELL-1 | WET WELL |  | Y
| LS-XXXXXX |  | ASBLY-1 | WET WELL ASSEMBLY | LID- | WET WELL TOP/LID |  | Y
| LS-XXXXXX |  | ASBLY-1 | WET WELL ASSEMBLY | LINER- | WET WELL LINER |  | Y
| LS-XXXXXX |  | ASBLY-1 | WET WELL ASSEMBLY | HATCH- | WET WELL HATCH |  | Y
4. TOTAL SCHEDULED VALUE: WETWELL | [9 empty] | 0
5. ELECTRICAL
| LS-XXXXXX |  |  |  | CP-1 | CONTROL PANEL |  | Y
| LS-XXXXXX |  |  |  | PANEL-1 | DISTRIBUTION PANEL |  | N
| LS-XXXXXX |  |  |  | PANEL-2 | DEMARCATION BOX |  | Y
| LS-XXXXXX |  |  |  | SWITCH-1 | MANUAL TANSFER SWITCH |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | BRKR-1 | MAIN BREAKER |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | START-1 | STARTER PUMP 1 |  | N
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | START-2 | STARTER PUMP 2 |  | N
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | CONTLR-1 | MOTOR CONTROLLER-1 |  | N
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | CONTLR-2 | MOTOR CONTROLLER-2 |  | N
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | HMI-1 | HMI/OPERATOR PANEL |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | PLC- | PLC |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | XDUCER-1 | LEVEL TRANSDUCER |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | XDUCER-2 | FORCE MAIN TRANSDUCER |  | N
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | XDUCER-3 | POTABLE WATER TRANSDUCER |  | N
5. TOTAL SCHEDULED VALUE: ELECTRICAL | [9 empty] | 0
6. SCADA
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | ANT-1 | ANTENNA |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | RADIO-1 | SCADA RADIO |  | Y
| LS-XXXXXX |  | CP-1 | CONTROL PANEL | MODULE-1 | COMMUNICATION MODULE |  | Y
6. TOTAL SCHEDULED VALUE: SCADA CONTROLS | [9 empty] | 0
7. SITE WORK
7. TOTAL SCHEDULED VALUE: SITE WORK | [9 empty] | 0
TOTAL COST | [9 empty] | 0 | MUST EQUAL THE CONTRACT AMOUNT